## Slide 1
1
Next PID Solutions
dRICH: A RICH with two radiators (gas + aerogel) for wide momentum coverage
Separation
p/K up to ~ 50 GeV/c
e/p up to ~ 15 GeV/c
mRICH: An aerogel RICH with Fresnel lens focalization for compact and projective imaging
p/K sepration up to ~ 10 GeV/c
Compact solution for few-GeV range
Dual-radiator for extended momentum range
Aerogel
Fresnel lens
Sensor plane

## Slide 2
2
Aeronautic technology for structure
to maximize lightness and stiffness. Trapezoid of composite materials: CFRP inside acceptance, Al outside
Carbon Fiber Mirrors (spherical)
to maximize lightness and stiffness. Consolidate technology (HERMES, AMS, LHCb) but ~ 30 % material budget reduction
Glass-Skin Mirrors (planar)
Innovative technology never used in nuclear experiments ~ 1/5 cost for squared meter vs CFRP
Photon Detector
First use of H8500/H12700 flat panel multi-anode PMTs
64 pixels on a 5x5 cm2 area
Recent Advances
M.Mirazita et al., NIMA876 (2017) 54-58
Notes: Immagine electronic panel e scheda ottica

## Slide 3
3
World leading transparency
At such large n and volumes
Cooled SiPM as
good as PMTs
Recent Advances
M. Contalbrigo et al., NIMA876 (2017) 168-172
M. Contalbrigo et al., NIMA766 (2014) 22
Notes: Immagine electronic panel e scheda ottica

## Slide 4
4
Compact (matches sensor area)
Modular Front-End (Mechanical adapter, ASIC, FPGA)
Scalable fiber optic DAQ (TCP/IP or SSP)
Tessellated (common HV, LV and optical fiber)
Applications:
- CLAS12 RICH
- EIC R&D
- Gluex DIRC
- SOLID
- Medical Imaging
- Homeland Security
HV
LV
Optical
Fiber
Modular Readout Electronics
SSP Back-end
Constant threshold discrimination
1 ns FPGA timestamp (clock distribution driven)
Notes: Immagine electronic panel e scheda ottica

## Slide 5
Commercial vacuum technology for safety and cost effectiveness
Overlapping rings for parallel beam particles
5
dRICH Prototype Design
Gas Exchange
Aerogel Conf.
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 6
6
dRICH Prototype Performance
Filters to study and
control chromatic
dispersion
Aerogel
Gas
(2.9)
(0.5)
(0.5)
(0.8)
(1.2)
(0.5)
Montecarlo simulation
@EIC
@EIC
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 7
7
Readout Independent element
for flexibility: supports various
detectors with integrated cooling
Reference:
MAROC + SSP/VSX
Dedicated:
SiREAD + SSP/ethernet
Sensors Reference B-field tolerant:
MA-PMTs MCP-PMTs (LAPPDs) SiPMs
Sensor and Readout
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 8
8
Summary
Next-DIS activity extends and integrates ongoing developments
in synergy with the EIC R&D program (eRD14 PID Consortium).
Broad experience in optical components, sensors and electronics.
Next-DIS funds mainly dedicated to manpower plus consumables.
In good position to develop demonstrators within the STRONG2020 timeline
Notes: Vanno messi studi innovativi e pubblicazioni