## Slide 1
SiPM
EIC eRD110 Meeting - 9th September 2021
1
EIC eRD102 Meeting - 9th September 2021
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 2
Silicon Photomultipliers
2
EIC eRD102 Meeting - 9th September 2021
Custom matrices with new SiPM developments
Custom matrices with commercial SiPM standards
Pros:
Magnetic field insensitive
Fast evolving technology
Cost-effective, suitable for mass production
Robust, low bias voltage
Cons:
High dark count
 high rate, precise timing readout
Limited radiation tolerance
 layout, packaging
 cool operation, annealing
R&D depends on detector and location
Less demanding: calorimetry + dRICH

## Slide 3
Characterization
3
EIC eRD102 Meeting - 9th September 2021
Custom electronics for laboratory characterization
baseline noise
ToT readout (ALCOR) to study readout specs

## Slide 4
SiPM Irradiation
4
EIC eRD102 Meeting - 9th September 2021
TIFPA
Proton
Beam
Facility
Collimated
Beam
109-1011 neq
Before
After
Climate chamber
INFN
Laboratory
Infrastructure
Annealing
up to 180 C
Cooling
down to -30 C

## Slide 5
FY22 Targeted R&D
5
EIC eRD102 Meeting - 9th September 2021
Complete tests on commercially available sensors
Start custom development with manufacturers (for temperature treatment)
Milestones:
Comparative assessment performance after 1011/cm2 neq dose*
Annealing protocol*
* for commercially available sensors
Funding profile:
Commercial SiPM + service electronics 10 k$
Custom developments with manufacturers 20 k$
Co-funded personnel 30 k$
INFN in-kind contribution: TIFPA irradiation facility, laboratories and infrastructures,
experienced personnel (part-time), dedicated personnel (co-funded).

## Slide 6
SiPM Program
6
EIC eRD102 Meeting - 9th September 2021
Demonstrate that a proper choice of the SiPM layout, temperature treatment, and
precise timing readout, could mitigate the technological risk on photo-sensors at EIC.
FY22: Assess baseline performance for PID detectors
FY23-24: Exend the R&D to calorimetry
Define specs and optimize sensor layout with manufacturers
Realize a basic SiPM readout unit for Cherenkov applications with
integrated cooling and signal formation (synergy with electronics development)