## Slide 1
1
Contalbrigo M.
EIC eRD14, 19th September 2019
INFN Groups and eRD14
Several INFN groups interested to pursue dRICH
and other activities within the eRD14 Consortium
INFN-FE
CLAS12 RICH
INFN-LNF
CLAS12 RICH
INFN-RM1
HERMES RICH
Hall-A Tracking
INFN-CT
Hall-A HCAL

## Slide 2
2
Contalbrigo M.
GEM chamber
EIC eRD14, 19th September 2019
Goal:
Separation
up to 8 GeV/c
Front
Back
CLAS12 RICH Prototype @ CERN T9

## Slide 3
3
Contalbrigo M.
Aeronautic technology for structure
to maximize lightness and stiffness. Trapezoid of composite materials: CFRP inside acceptance, Al outside
Carbon Fiber Mirrors (spherical)
to maximize lightness and stiffness. Consolidate technology (HERMES, AMS, LHCb) but ~ 30 % material budget reduction
Glass-Skin Mirrors (planar)
Innovative technology never used in nuclear exps. ~ 1/5 cost for squared meter vs CFRP
Photon Detector
First use of H8500/H12700 flat panel multi-anode PMTs
64 pixels on a 5x5 cm2 area
EIC eRD14, 19th September 2019
CLAS12 RICH Advances
Notes: Immagine electronic panel e scheda ottica

## Slide 4
4
Contalbrigo M.
World leading transparency
At such large n and volumes
Cooled SiPM as
good as PMTs
EIC eRD14, 19th September 2019
CLAS12 RICH Advances
Notes: Immagine electronic panel e scheda ottica

## Slide 5
5
Contalbrigo M.
Readout Electronics
Compact (matches sensor area)
Modular Front-End (Mechanical adapter, ASIC, FPGA)
Scalable fiber optic DAQ (TCP/IP or SSP)
Tessellated (common HV, LV and optical fiber)
Applications:
- EIC R&D
- Gluex DIRC
- SOLID
- Medical Imaging
- Homeland Security
HV
LV
Optical
Fiber
EIC eRD14, 19th September 2019
Front-end Electronics
Notes: Immagine electronic panel e scheda ottica

## Slide 6
6
Contalbrigo M.
Optical ethernet (2.5 Gbps)
Small setups:
TCP/IP
Optical bridge / PC Desktop
Full experiment:
SSP protocol
SSP board / VSX crate
Next:
Ethernet Switches
Contalbrigo M.
SSP board / VSX crate
2 RICH sectors ~ 50 k channels
Optical bridge / PC Desktop
Few FPGA units ~ 500 channels
EIC eRD14, 19th September 2019
Back-end Electronics (JLab)
Notes: Aggiungere range di validita’ per fattorizzazione GPDs

## Slide 7
Commercial vacuum technology for safety and cost effectiveness
Overlapping rings for parallel beam particles
7
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
dRICH Prototype Design
Gas Exchange
Aerogel Conf.
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 8
8
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
dRICH Prototype Test
Readout box
Independent element
for flexibility: supports
various detectors,
cooling, UV filters….
Sensors
Reference:
MA-PMTs
B-field tolerant:
MCP-PMTs (LAPPDs)
SiPMs
Ancillary Systems:
Gas Cherenkov for tagging (FTBF beam line)
MWPC chambers for tracking (FTBF beam line)
GEM chambers for tracking (basic version in house)
Gas recirculating circuit (optional)
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 9
9
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
dRICH Prototype Performance
Filters to study and
control chromatic
dispersion
Aerogel
Gas
(2.9)
(0.5)
(0.5)
(0.8)
(1.2)
(0.5)
Montecarlo simulation
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 10
Laser head +
diffuser
MAPMT holder
JLab
632 nm picosecond pulsed laser light
Light diffuser to illuminate the whole MAPMT surface
Standardized system with CLAS12 electronics
H8500 6x6 mm2 pixel sensor so far
INFN
632 nm and 407 nm picosecond pulsed laser light
Light concentrator to scan the sensor surface
Flexible layout supporting various sensors and
Front-End electronics
Detailed characterization
Sensors: gain, efficiency, cross-talk, radiation tolerance
Electronics: gain, cross-talk, thresholds, time resolution
Laser head +
collimator
MAPMT holder
Pulsed Laser Test Benches
10
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 11
Surface map by laser setup vs touch machine
Spectrophotometer Characterization station
Controlled storage
Aerogel Test Laboratory
11
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
Existing facility to study detailed aerogel optical properties
(refractive index, surface planarity, forward scattering)
safe handling and Interplay with gas radiator
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 12
Mirror Test Laboratory
12
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
Existing facility to study detailed mirror optical properties
(surface map, radius of curvature, reflectivity)
Reflectivity
Planarity
Shack-Hartmann: Aberrations
Point Image: Alignment
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 13
EIC Detector Environment
13
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
Neutron Fluence
Under control outside the calo’s
Reference value ~ 10 11 neq/cm2
Magnetic Field
~ 1 T order of magnitude
Detector orientation to be tuned
dRICH
sensor
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 14
Pixel #
Pixel #
Peltier cell cooling
Down to -30o in N2
14
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
SiPM Option
Viable solution with cooling
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 15
Paolo Carniti
@ RICH 2018
I. Balossino et al.
NIMA 876 (2017) 89
T. Tsang et al.
JINST 11 (2016) P12002
T= 25 C
109 neq cm2
Annealing at 250 oC
T= 0 C
few 109 neq cm2
SiPM Radiation Tolerance
15
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 16
SiPM Radiation Tolerance
16
Contalbrigo M.
Contalbrigo M.
EIC eRD14, 19th September 2019
SiPMs with high cell density and
fast recovery time can operate up
to 3*1012 neutrons/cm2
(gain change is< 25%).
Yu. Musienko @ DIRC2019
General trend is that SiPMs with high
VB value have faster dark current
reduction with the temperature
+ Low/uniform field
+ Entrance window
+ Packaging (Dt, cooling)
+ ……..
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 17
FY | 20-1 | 20-2 | 20-3 | 20-4 | 21-1 | 21-2 | 21-3 | 21-4 | 22-1 | 22-2 | 22-3 | 22-4 | 23-1 | 23-2 | 23-3 | 23-4 | Tot | INFN
Post-doc (Hardware) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  |  |  |  | 120 | 
Post-doc (Design) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  | 30 |  |  | 150 | 
Travel (Test-beam) |  |  |  | 4 |  |  | 8 | 12 |  |  | 12 | 8 |  |  |  | 12 | 56 | 40
Mechanics |  |  |  | 5 |  |  | 10 |  |  |  |  | 5 |  |  |  |  | 20 | 15
Windows |  |  |  | 8 |  |  | 10 |  |  |  |  |  |  |  |  |  | 18 | 
Gas system |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 
Electronics |  |  |  | 5 |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 15 | 15
Tracking |  |  |  |  |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 10 | 10
Shipment, Incidentals |  |  |  |  |  |  | 15 |  |  |  |  | 15 |  |  |  | 15 | 45 | 
Mirrors |  |  |  |  |  |  | 5 |  |  |  |  | 20 |  |  |  | 40 | 65 | 5
Aerogel |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 10
Gas |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 5
MCP-PMTs (LAPPDs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
SiPMs |  |  |  |  |  |  | 30 |  |  |  |  | 30 |  |  |  | 15 | 75 | 30
SiPM Coolling |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 20
Total personal |  |  |  | 44 |  |  |  | 120 |  |  |  | 120 |  |  |  | 42 | 326 | 40
Total material |  |  |  | 18 |  |  |  | 110 |  |  |  | 120 |  |  |  | 90 | 338 | 110
17
Contalbrigo M.
Activity 2020
EIC eRD14, 19th September 2019
2020
Prototype design,
simulation and
implementation
Basic mechanics
Electronics
adaptation
Component test
and selection
Start of INFN funds
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 18
18
Contalbrigo M.
FY | 20-1 | 20-2 | 20-3 | 20-4 | 21-1 | 21-2 | 21-3 | 21-4 | 22-1 | 22-2 | 22-3 | 22-4 | 23-1 | 23-2 | 23-3 | 23-4 | Tot | INFN
Post-doc (Hardware) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  |  |  |  | 120 | 
Post-doc (Design) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  | 30 |  |  | 150 | 
Travel (Test-beam) |  |  |  | 4 |  |  | 8 | 12 |  |  | 12 | 8 |  |  |  | 12 | 56 | 40
Mechanics |  |  |  | 5 |  |  | 10 |  |  |  |  | 5 |  |  |  |  | 20 | 15
Windows |  |  |  | 8 |  |  | 10 |  |  |  |  |  |  |  |  |  | 18 | 
Gas system |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 
Electronics |  |  |  | 5 |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 15 | 15
Tracking |  |  |  |  |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 10 | 10
Shipment, Incidentals |  |  |  |  |  |  | 15 |  |  |  |  | 15 |  |  |  | 15 | 45 | 
Mirrors |  |  |  |  |  |  | 5 |  |  |  |  | 20 |  |  |  | 40 | 65 | 5
Aerogel |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 10
Gas |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 5
MCP-PMTs (LAPPDs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
SiPMs |  |  |  |  |  |  | 30 |  |  |  |  | 30 |  |  |  | 15 | 75 | 30
SiPM Coolling |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 20
Total personal |  |  |  | 44 |  |  |  | 120 |  |  |  | 120 |  |  |  | 42 | 326 | 40
Total material |  |  |  | 18 |  |  |  | 110 |  |  |  | 120 |  |  |  | 90 | 338 | 110
Activity 2021
EIC eRD14, 19th September 2019
2021
Basic prototype
- basic tracking
- 1 radiator choice
- commercial mirror
- reference readout
Beam Test 1
- MA-PMTs, SiPMs
- Proton beam
- Critical aspects
Optical components
test and selection
SiPM program
radiation tolerance
and cooling program
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 19
19
Contalbrigo M.
FY | 20-1 | 20-2 | 20-3 | 20-4 | 21-1 | 21-2 | 21-3 | 21-4 | 22-1 | 22-2 | 22-3 | 22-4 | 23-1 | 23-2 | 23-3 | 23-4 | Tot | INFN
Post-doc (Hardware) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  |  |  |  | 120 | 
Post-doc (Design) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  | 30 |  |  | 150 | 
Travel (Test-beam) |  |  |  | 4 |  |  | 8 | 12 |  |  | 12 | 8 |  |  |  | 12 | 56 | 40
Mechanics |  |  |  | 5 |  |  | 10 |  |  |  |  | 5 |  |  |  |  | 20 | 15
Windows |  |  |  | 8 |  |  | 10 |  |  |  |  |  |  |  |  |  | 18 | 
Gas system |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 
Electronics |  |  |  | 5 |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 15 | 15
Tracking |  |  |  |  |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 10 | 10
Shipment, Incidentals |  |  |  |  |  |  | 15 |  |  |  |  | 15 |  |  |  | 15 | 45 | 
Mirrors |  |  |  |  |  |  | 5 |  |  |  |  | 20 |  |  |  | 40 | 65 | 5
Aerogel |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 10
Gas |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 5
MCP-PMTs (LAPPDs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
SiPMs |  |  |  |  |  |  | 30 |  |  |  |  | 30 |  |  |  | 15 | 75 | 30
SiPM Coolling |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 20
Total personal |  |  |  | 44 |  |  |  | 120 |  |  |  | 120 |  |  |  | 42 | 326 | 40
Total material |  |  |  | 18 |  |  |  | 110 |  |  |  | 120 |  |  |  | 90 | 338 | 110
Activity 2022
EIC eRD14, 19th September 2019
2022
Refined prototype
- precision tracking / alignment
- various radiators
- custom mirrors
- gas system
- optimized readout
- online reconstruction
Beam Test 2
- MCP-PMTs, SiPMs
- Hadron beam
- Performance optimization
Optical components
test and selection
SiPM program
radiation tolerance
and cooling program
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 20
20
Contalbrigo M.
FY | 20-1 | 20-2 | 20-3 | 20-4 | 21-1 | 21-2 | 21-3 | 21-4 | 22-1 | 22-2 | 22-3 | 22-4 | 23-1 | 23-2 | 23-3 | 23-4 | Tot | INFN
Post-doc (Hardware) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  |  |  |  | 120 | 
Post-doc (Design) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  | 30 |  |  | 150 | 
Travel (Test-beam) |  |  |  | 4 |  |  | 8 | 12 |  |  | 12 | 8 |  |  |  | 12 | 56 | 40
Mechanics |  |  |  | 5 |  |  | 10 |  |  |  |  | 5 |  |  |  |  | 20 | 15
Windows |  |  |  | 8 |  |  | 10 |  |  |  |  |  |  |  |  |  | 18 | 
Gas system |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 
Electronics |  |  |  | 5 |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 15 | 15
Tracking |  |  |  |  |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 10 | 10
Shipment, Incidentals |  |  |  |  |  |  | 15 |  |  |  |  | 15 |  |  |  | 15 | 45 | 
Mirrors |  |  |  |  |  |  | 5 |  |  |  |  | 20 |  |  |  | 40 | 65 | 5
Aerogel |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 10
Gas |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 5
MCP-PMTs (LAPPDs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
SiPMs |  |  |  |  |  |  | 30 |  |  |  |  | 30 |  |  |  | 15 | 75 | 30
SiPM Coolling |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 20
Total personal |  |  |  | 44 |  |  |  | 120 |  |  |  | 120 |  |  |  | 42 | 326 | 40
Total material |  |  |  | 18 |  |  |  | 110 |  |  |  | 120 |  |  |  | 90 | 338 | 110
Activity 2023
EIC eRD14, 19th September 2019
2023
TDR readiness
EIC configuration
engineering, realistic PID
Contingency:
Beam test 3
- Performance assessment
- Component optimization
Optical components
refinement and
cost reduction
SiPM program
radiation tolerance
and cooling program
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 21
21
Contalbrigo M.
FY | 20-1 | 20-2 | 20-3 | 20-4 | 21-1 | 21-2 | 21-3 | 21-4 | 22-1 | 22-2 | 22-3 | 22-4 | 23-1 | 23-2 | 23-3 | 23-4 | Tot | INFN
Post-doc (Hardware) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  |  |  |  | 120 | 
Post-doc (Design) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  | 30 |  |  | 150 | 
Travel (Test-beam) |  |  |  | 4 |  |  | 8 | 12 |  |  | 12 | 8 |  |  |  | 12 | 56 | 40
Mechanics |  |  |  | 5 |  |  | 10 |  |  |  |  | 5 |  |  |  |  | 20 | 15
Windows |  |  |  | 8 |  |  | 10 |  |  |  |  |  |  |  |  |  | 18 | 
Gas system |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 
Electronics |  |  |  | 5 |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 15 | 15
Tracking |  |  |  |  |  |  | 5 |  |  |  |  | 5 |  |  |  |  | 10 | 10
Shipment, Incidentals |  |  |  |  |  |  | 15 |  |  |  |  | 15 |  |  |  | 15 | 45 | 
Mirrors |  |  |  |  |  |  | 5 |  |  |  |  | 20 |  |  |  | 40 | 65 | 5
Aerogel |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 10
Gas |  |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |  | 15 | 5
MCP-PMTs (LAPPDs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
SiPMs |  |  |  |  |  |  | 30 |  |  |  |  | 30 |  |  |  | 15 | 75 | 30
SiPM Coolling |  |  |  |  |  |  | 10 |  |  |  |  | 10 |  |  |  | 10 | 30 | 20
Total personal |  |  |  | 44 |  |  |  | 120 |  |  |  | 120 |  |  |  | 42 | 326 | 40
Total material |  |  |  | 18 |  |  |  | 110 |  |  |  | 120 |  |  |  | 90 | 338 | 110
Activity 20-23
EIC eRD14, 19th September 2019
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 22
22
Contalbrigo M.
dRICH Summary
In good position to achieve TDR readiness in 2023
Increasing interest within INFN groups with hardware expertise
Feasibility study completed for EIC generic requirements
Sophisticated software tools developed for further optimization
Technical risks:
- Radiator quality and interplay
- Availability of sensor solution in 3T magnetic field (shared within eRD14)
- Availability of an advanced (fast sampling) readout electronics (shared within eRD14)
Mitigations:
Only possible with:
- a prototype and a stable program of component development and tests
- a steady funding plan accounting for the necessary prototype validation
and newly (cost-effective) technological solution assessments (SiPMs, mirrors)
EIC eRD14, 19th September 2019
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 23
23
Contalbrigo M.
BACKUP
Notes: Vanno messi studi innovativi e pubblicazioni

## Slide 24
24
Contalbrigo M.
FY | 20-1 | 20-2 | 20-3 | 20-4 | 21-1 | 21-2 | 21-3 | 21-4 | 22-1 | 22-2 | 22-3 | 22-4 | 23-1 | 23-2 | 23-3 | 23-4 | Tot | INFN
Post-doc (Back-end) |  |  |  | 20 |  |  |  | 50 |  |  |  | 50 |  | 30 |  |  | 150 | 
Travel (Test-beam) |  |  |  | 4 |  |  | 4 | 6 |  |  | 6 | 4 |  |  |  | 4 | 28 | 
Back-end |  |  |  | 10 |  |  |  | 50 |  |  |  | 30 |  |  |  | 20 | 110 | 
Total personal |  |  |  | 24 |  |  |  | 60 |  |  |  | 60 |  |  |  | 34 | 178 | 
Total material |  |  |  | 10 |  |  |  | 50 |  |  |  | 30 |  |  |  | 20 | 110 | 
Activity
Notes: Vanno messi studi innovativi e pubblicazioni