## Slide 1
e: 5 GeV to 18 GeV
p: 41 GeV, 100 to 275 GeV
p/A beam
e beam
The dual-radiator RICH has been a common reference in the forward region since EIC Yellow Report
Moving from generic EIC R&D (eRD14) to targeted EIC R&D (eRD102, eRD110, eRD…)
The dRICH Project
Incontro Nazionale EIC_NET - 3th October 2022
Contalbrigo Marco - INFN Ferrara
BA, BO, CS
CT, FE, GE,
LNF, LNS, RM1,
SA, TO, TS
Detector-1

## Slide 2
dRICH: effective solution, part of EIC reference detector
Radiators: Aerogel (nAERO~1.02) + Gas (nC2F6 ~ 1.0008)
Detector: 0.5 m2/sector , 3x3 mm2 pixel.  SiPM option
Phase Space:
- Polar angle: 5-25 deg
Momentum: 3-60 GeV/c
Dual Radiator RICH @ EIC
Two main : cover wide momentum range 3 - 60 GeV/c
challenges work in high (~ 1T) magnetic field
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 3
Targeted R&D eRD102
Prototipe to validate dual-radiator working principle,
study compatibility with B field and streaming readout,
optimize performance and define specifications for components
Reference detector
EIC driven detector
Incontro Nazionale EIC_NET - 3th October 2022
FY23 proposal
Just submitted

## Slide 4
RICH2022
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 5
dRICH Prototype
Incontro Nazionale EIC_NET - 3th October 2022
Refined alignment tools and procedure
Beam information: time and Cherenkov tagging
Test beam @ PPE158 - SPS September 2022

## Slide 6
Time Analysis
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 7
dRICH Gas
Incontro Nazionale EIC_NET - 3th October 2022
Scan the mirror position to align the focal plane on the sensor surface

## Slide 8
dRICH Prototype
Incontro Nazionale EIC_NET - 3th October 2022
Two radiators with 180 hadron beam with reference readout
Expected SPE ~ 1 mrad
Expected SPE ~ 3 mrad

## Slide 9
dRICH Prototype
Incontro Nazionale EIC_NET - 3th October 2022
Test at 50 GeV mixed hadron beam with tagging by beam instrumentation (3x gas Cherenkov)

## Slide 10
dRICH Aerogel
Incontro Nazionale EIC_NET - 3th October 2022
Chromatic dispersion measured
prototype with optical filters
Wavelength (nm)
Cherenkov angle (mrad)

## Slide 11
Goals:
Compare surfaces of same tile (only exit surface matters)
Compare refractive index and photon yield among different tiles
Check tile stack performance
dRICH Aerogel
Compare single tile and stack of tiles ( from Aerogel Factory)
Single
3x Stack
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 12
Existing facility to study detailed radiator
optical properties and alternatives
Aerogel:
Safe handling and characterization (refractive
index, surface planarity, forward scattering)
Interplay between radiators:
UV filters, refractive index optimization
Next Steps: Aerogel
Aerogel Factory: negotiate production of large
goals: study reproducibility
1st batch: 1.0206, 1.0206, 1.0199, 1.0204
2nd batch: 1.0201, 1.0207, 1.0210, 1.0218
negotiate large (20x20 cm2) tiles with ALICE
ASPEN: initial contacts with CUA (Tanja Horn)
goal: obtain few samples at 1.02
Incontro Nazionale EIC_NET - 3th October 2022
INFN 2023: Funds for new samples

## Slide 13
dRICH Simulations
ECCE simulation
ATHENA simulation
Chandra @ RICH 2022
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 14
dRICH Simulations
dRICH simulation model was adapted to ATHENA and ECCE
Full simulation chain now implemented into EPIC
Inputs for a realistic model are becoming available from prototype
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 15
Next Steps: Mirror & Mechanics
INFN 2023: funds for a CFRP mirror demonstrator
INFN 2032: funds for a composite material study (targeted to over-pressure case)
Contacts with BNL and JLab for engineering support
Incontro Nazionale EIC_NET - 3th October 2022
Notes: Fare una immagine del PMT sulla risoluzione

## Slide 16
Photo-Sensors
Study solutions for single-photon detection within strong B-field
SiPM program: selection among various candidates
R&D dark count mitigation
LAPPD program
Test & guide developments @ Incom
Incontro Nazionale EIC_NET - 3th October 2022
INFN 2023: rent, instrumentation
INFN 2023: sensors, instrumentation, electronics, FBK R&D
local support at SA, CS, MS

## Slide 17
SiPM Test Station
Incontro Nazionale EIC_NET - 3th October 2022
Roberto @ RICH2022

## Slide 18
SiPM + ALCOR Light Response
Pulsed LED providing a relative PDE measurement
- compare different sensors
- compare before and after irradiation and annealing
- awaiting ALCORv2
Incontro Nazionale EIC_NET - 3th October 2022
Roberto @ RICH2022

## Slide 19
SiPM Dark Count Rate
Incontro Nazionale EIC_NET - 3th October 2022
Roberto @ RICH2022
Compare sensor response to irradiation + annealing. S13360-3050VS most promising for the moment.

## Slide 20
SiPM Irradiation-Annealing Cycles
Realistic study of sensor life with irradiation and annealing cycles
Roberto @ RICH2022
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 21
SiPM In-Situ Operations
Study solutions for rapid and repeated annealing
Preparing for beam test (12-19 October 2022)
Roberto @ RICH2022
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 22
LAPDDs
Large-area
cost effective
micro-channel
plate detector
Measured dark rate: 140 Hz/m2 at room temperature
Preparing single-photon response characterization
Test station
in Trieste
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 23
Test-beam 5-19 October 2022
CERN PS line T10
Goal: Single photon time resolution
LAPDDs @ INFN
LAPPD photodetector
Quartz lens to produce Cherenkov light
Fast beam monitor MCP and SiPM
Incontro Nazionale EIC_NET - 3th October 2022

## Slide 24
Conclusions
dRICH project aims to address crucial PID aspects at EIC
cost-effective compact solution for hadron PID in the forward region in a wide kinematic range
investigation of novel single-photon detector solution to be operated in high magnetic field
The dual-radiator RICH has been a common reference in the forward region since EIC Yellow Report
Moving from generic EIC R&D (eRD14) to targeted EIC R&D (eRD102, eRD110, eRD109, ….)
INFN leading an international effort
Quite broad program (optics, sensors, electronics, mechanics, cooling, ….)
Many opportunities for contributions at the cutting edge of detector technology
Incontro Nazionale EIC_NET - 3th October 2022