## Slide 1
RICH Detector
M. Contalbrigo
INFN Ferrara
CLAS Collaboration Meeting
13-16 June 2017
Notes: Dire meglio chi fa cosa.

## Slide 2
2
Entrance bottom
Entrance top
Electronic Panel
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Mechanic Assembling
Notes: Dire meglio chi fa cosa.

## Slide 3
3
Exit Panel
External Al structure + Tedlar (DSG + Argonne)
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 4
4
Gas System
Clean Air Compressor
Air Tank and Gas Line Controls
Gas System GUI
Gas system being installed in EEL-124
Operative test foreseen in August 17
with fully instrumented electronic panel
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 5
Aerogel
Difference between our measurement and passport values
Production of 3 cm: minimal quantity achieved
- All delivered tiles within specifications
Production of 2 cm: ongoing
Completion expected beginning of August
HERMES
(n=1.03)
CLAS12 R&D
(n=1.05)
CLAS12
Production
(n=1.05)
<Lsc> ~ 50 mm
5
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 6
6
Aerogel
6
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Mechanical stress tests
Can sustain compressions much bigger than planned
First assembly test performed
Safe rotations up to 100o
Notes: Dire meglio chi fa cosa.

## Slide 7
7
Spherical Mirrors
Radius, specs ± 1 %
Reflected spot size, specs < 2.5 mm
All 10 mirror produced
30% less areal density vs LHCb
Specifications met
Support structure delivered
Coating ongoing @ ECI
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 8
8
Alignment
After alignment D0 = 1.7 mm
Before alignment
Effective procedure (~ 20 min)
Uncoated 3.5 m2 composite mirror achieves a
point-like image comparable to single mirror
<< 5 mm specs
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 9
9
Planar Mirrors
Max. PMT
sensitivity
Glass skin + Al honeycomb core
Material budget comparable to CFRP @ 1/10 cost
Lateral mirror produced (3/5 accepted)
Assembling validated
Front mirror demo under mechanical tests
Cleaning process being improved for the rest
Reflectivity specs: > 90% at 400 nm
Slope of surface from CMM machine
Lateral mirror
assembling test
Surface mapping
with CMM machine
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 10
RICH Front-End Electronics
10
Contalbrigo M.
Analog: Charge (1 fC)
Digital: Time (1 ns)
Trigger latency (8 ms)
Optical ethernet (2.5 Gbps)
Trigger: external
internal
self
On-board pulser
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Aggiungere range di validita’ per fattorizzazione GPDs

## Slide 11
11
Readout Electronics
Front-end production complete
Acceptance test performed
Electronic Panel ready for assembling
Completion of readout services by August
Power mainframe in use
SSP readout under test
SY4527 LV & HV Power Supply
(compatible with EPICS)
5 SSP Fiber-Optic DAQ
(compatible with CLAS12)
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 12
12
FE Electronics: Digital Readout
Pedestal level as seen by a test-point
As seen by RICH readout
During Acceptance tests
During Internal Pulser Calibration
Discrimination down to 20 fC, i.e. few % of SPE, allows sensor characterization
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 13
13
FE Electronics: Timing
± 1ns
Typical time-walk with charge
Time offset and walk corrected
Channel by channel time calibration: -offsets -walk
Laser
PMT
Time (ns)
Occupancy (#)
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 14
14
FE Electronics: Charge
Multiplexed readout up to 50 kHz
High resolution SPE spectrum
Viable for efficiency and gain monitors
In conjunction with timing, allows the
study of PMT discharge and cross-talk
Sampling time
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 15
RICH Electronic: Cross-talk
15
Contalbrigo M.
Hamamatsu
H8500
CLAS12 Meeting, 13 June 2017, JLab
Notes: Aggiungere range di validita’ per fattorizzazione GPDs

## Slide 16
16
Cosmic Run
Phase 1 (June-July):
- fixed geometry
- 32 readout tiles (30 on the ring, 2 for tracking)
- SVT black cover
Goal: full readout chain
Phase 2 (August):
- Full panel instrumented
- Custom light-tight box
- various track patterns
Goal: RICH readout commissioning
Important to define
alignment
photon vs track signals
gemc simulations
coat-java reconstruction
slow control
event display
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 17
17
RICH Software
RICH geometry is implemented in the software mostly from CAD through mesh files
- a detailed, consistent and updated description of the detector can be obtained
- simulation and reconstruction shared the same database
Possible conflicts with optical photon tracking not yet solved (i.e. spherical mirror)
Digitization of the MAPMT response:
- calculate the pixel ID
- interface to CCDB
- apply efficiency
- simulated ADC and TDC spectra
Event reconstruction started
- match with DC information in coat-java
- photon tracing algorithm
(tested with prototype and cosmics)
- event display
Photon Energy
Direct ring example
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 18
ADC conversion:
- gaussian smeared conversion of
Npe in charge collection
- linear conversionin ADC units
TDC conversion:
- 1 ns gaussian smearing of the
leading time
- time duration proportional to charge
Will be made more realistic following
electronics calibration
18
Gemc Digitization
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.

## Slide 19
19
Cosmic Run Simulations
Tracking on MA-PMT
4s K-p
separation
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Cherenkov angle
Notes: Dire meglio chi fa cosa.

## Slide 20
20
Summary and Timeline
Mechanics: Key elements assembled
Adapting installation tools (cart and strong back)
Services Gas system ready and approved
Power lines and DAQ under procurement (available for ¼ of the panel)
Electronics Procurement done
Calibration ongoing
Staged cosmic run for commissioning
Aerogel 3cm procurement done (minimum quantity)
2cm production completion planned in August
Mirrors Spherical Mirrors and support structure delivered
Coating ongoing
Planar Lateral 1.6mm skin mirrors produced
Improving process (cleaning) for frontal 0.7mm skin mirrors
Software gemc simulations being refined
coatjava reconstruction under development
Installation foreseen in September 2017
Contalbrigo M.
CLAS12 Meeting, 13 June 2017, JLab
Notes: Dire meglio chi fa cosa.